| Clean Air Act 1993 |
| --- |
| Application form for: Sections 4, 6 and 14 Notification of proposal to install a furnace (section 4) Application for approval of grit and dust arrestment plant (section 6) Application for the Approval of the Height of Chimney(s) serving Furnace(s) (section 14) |  |

When to use this form:

Please use this form for any, or all of the following purposes:

Section 4:

Use this form to notify Oxford City Council of your intention to install a furnace in a building or in any fixed boiler or industrial plant (excluding domestic furnaces).

Section 6:

Use this form to apply to Oxford City Council for approval grit and dust arrestment plant serving a furnace or boiler that will burn:

- Pulverised fuel OR,

- Any other solid matter at a rate of 45.5 kilograms per hour or greater OR,

- Any liquid or gaseous matter at a rate equivalent to 366.4 kilowatts or more.

Section 14:

Use this form to apply to Oxford City Council for approval of the height of a chimney serving a furnace or boiler that will burn:

- Pulverised fuel OR,

- Any other solid matter at a rate of 45.5 kilograms per hour or greater OR,

- Any liquid or gaseous matter at a rate equivalent to 366.4 kilowatts or more.

When to apply:

You will need to apply for approval of a chimney height if you intend to:

- Construct a new chimney OR,

- Increase the combustion space of an existing furnace OR,

- Add a new furnace to an existing installation OR,

- Change the fuel burnt in an existing furnace OR,

- Replace a furnace with one having a larger combustion space,

AND the furnace or boiler will meet one of the requirements shown above under the section headed ‘when to use this form’.

How to apply:

You should fill in as much of this form as possible. When complete please return it to:

| Environmental Sustainability Oxford City Council St Aldate’s Chambers 109 St Aldate’s Oxford OX1 1DS | T: Email: | 01865 252380 airquality@oxford.gov.uk |
| --- | --- | --- |

If you need any assistance in completing the form, please contact us at the address above.

Using continuation sheets:

If you need more space to answer any of the questions on the form, please use a continuation sheet; but please indicate clearly on the form that you have done so by stating a document reference number for that continuation sheet.  Please also mark the continuation sheet itself clearly with the document reference number and the application site address.

# Guidance

# The Secretary of State has produced the following guidance on the calculation of chimney heights:

# HMIP Technical Guidance Note D1: Guidelines on Discharge Stack Heights for Polluting Emissions

# Published by HMSO, ISBN 0-11-752794-7

This guidance note is now unfortunately out of print, however you can request a copy from the British Library (www.bl.uk/catalogues/listings.html).

# What happens next?

Once we have received your application, we will check to see whether it contains all the information that we need. If it does, the application is classified as ‘duly made’ and proceeds to the determination stage. This is when we decide whether the proposed chimney height is appropriate and we will notify you of the result within four weeks. If we fail to notify you of our decision within four weeks of receiving a duly made application, the approval applied for is treated as having been granted.

If we do not regard the chimney height within the application as appropriate, we will not approve the application. In this event, we will inform you of the lowest height that we would be prepared to approve.

If you have any questions about the determination process, please contact us at the address given above.

Appeals:

You can appeal against a decision not to approve a chimney height. Appeals should be made to the Secretary of State within 28 days of receipt of notification that the application has not been approved.

#### Other Statutory Requirements:

Approval of a chimney height under sections 14 and 15 of the Clean Air Act 1993 does not detract from any other statutory requirement, such as the need to obtain planning permissions, Building Regulations approval or a permit under the Pollution Prevention and Control Regulations 2000, nor does it authorise a contravention of any other enactment or any order made, granted or issued under any enactment, nor does it authorise a contravention of any rule or breach of any agreement. The provisions of the Clean Air Act 1993 relating to Smoke Control Areas may also apply.

The Operator is strongly advised to consult the Planning Department regarding changes that may be required as a result of this approval as they may require planning permission.

| Environmental Sustainability Oxford City Council St Aldate’s Chambers 109 St Aldate’s Oxford OX1 1DS | T: Email: | 01865 252380 airquality@oxford.gov.uk |
| --- | --- | --- |

# Part 1	General Information

# A	Site and Contact Details

# B	Proposed Works

# C	Category under which Chimney Height Approval is being Sought

# Part 2	Particulars to Accompany Application for Approval

D	Description and Use of Furnace(s) (note 1)

# E	Rating and Fuel Consumption

# F	Emissions

G	Particulars of Building

H	Particulars of Chimney for which Approval Required

I	Supplementary Information

J	Signature

# Text boxes

Full name and address of applicant:

Address of the premises where the boiler flue are to be constructed (if different from the above):

Full name and address of consultant, contractor or other agent (if employed):

Construction of a new flue

Increase in combustion space of an existing furnace (including the addition of a new furnace to an existing installation)

Replacement of furnace by one having a larger combustion space

Change of fuel so that chimney height approval is now required

What is the intended use of the furnace(s)?

(e.g. boiler plant, metal melting/reheating, drying etc)

Type and description of furnace(s) (as applicable):

1	Furnace(s) to be installed –

2	Changes to existing furnace(s) –

3	Furnace(s) to be removed –

Maximum continuous rating of boiler(s) in megawatts (MW) (note 1):

Maximum rate of fuel consumption in kilograms per hour or cubic metres per hour (separately for different fuels) (note 1):

Type(s) of fuel to be used (note 2):

| Fuel Type | Gross calorific value (MJ/kg or MJ/m3) | Sulphur content of fuel(s) % |
| --- | --- | --- |

Particulars of emissions (please specify whether from the combustion of fuel or from the material being heated (if any):

| Quality/Type of emission | Quantity (grams per second) |
| --- | --- |

Volume of chimney gasses as working temperature, in cubic metres per second (calculated from the maximum rate of fuel consumption in section E above):

Working temperature of chimney gasses, in degrees (state point of measurement):

Efflux velocity of chimney gasses at working temperature and at maximum loading of plant, in metres per second:

Stochiometric combustion volume, in metres cubed per second (where appropriate):

Position of nearest fan assisted intake (not including intakes for combustion air or fan dilution air) and openable windows. Please indicate the distance of the fan or window from the outlet and provide a plan where available:

Type and efficiency of arrestment equipment to be fitted:

Height of building to which chimney(s) is/are attached

Length of building to which the chimney(s) is/are attached

Width of building to which the chimney(s) is/are attached

Height of adjacent buildings

Distance of adjacent buildings from chimney(s)

Height of the chimney above ground level

Details of construction of the chimney (materials, insulation, single or multi-flue, internal diameter of chimney top) (note 3):

Please provide a scale site plan of the proposal, together with a scale site plan of other emission sources on the same site, with heights of chimneys and approximate distances from the chimney(s) for which approval is sought. The site plan must clearly show the relationship between the proposed and other development. The site plan must also show the surrounding topographical features and the relationship between the proposal and those features. (Please use the space overleaf, or attach a separate sheet) –

Any other information relevant to the application:

Signed

Date

Name (Block capitals)

Company Name (if applicable)